## Study Assay Technology Type
Value | ID | Comment
AAS | F052A | Atomic Absorption spectroscopy and similar spectorscopy (e.g. AAS, F-AAS, HG-AAS etc.).
AES | F055A | Atomic emission spectroscopy and similar spectroscopy
AFS | F058A | Atomic fluorescence spectrometry
Agglutination | F082A
AMS | F066A | Accelerator mass spectrometry
Anatomic-pathologic standard tests | F103A
Anatomic-pathologic Tests | F102A
Animal based tests | F112A
Biological test | F113A | Biological test
CE (or CZE) | F071A | Capillary (Zone) Electrophoresis
Cell based tests | F117A
Chemical-physical investigations on animals | F107A
Chromatographic tests | F015A | Chromatographic tests with main focus on isolation of the analyte and providing qualitatve or semiquantitative results.
Chromatography hyphenated to element spectrometry | F155A | Chromatography hyphenated to element spectrometry
Classification not possible | F001A | Analytical method measuring principle is known, but could not be classified.
Colorimetry, Spectrocopy (Spectrometry) and Photometry | F008A | Identifying and quantifying one or more analytes through the respective spectrum of absorbtion and-or emission. If quantification is the main focus of the method, the term "spectrometry" is widely used.
Coproantigen ELISA | F183A | Deplazes P, Alther P, Tanner I, Thompson RCA, Eckert J, 1999.
CVAAS | F151A | Cold vapour atomic absorption spectrometry
CVAFS | F152A | Cold vapour atomic fluorescence spectrometry
DHS | F175A | Dynamic headspace extraction
DNA based tests | F115A
DNA hybridization | F090A | Monnier P, Cliquet F, Aubert M, Bretagne S, 1996.
DNA sequencing | F089A
Eastern blotting | F073A | for detection of protein after post translational modifications
EIA | F079A | Enzyme Immunoassay Tests
Electrochemical tests | F012A | Identifying and quantifying an analyte by measuring electrochemical properties.
Electrochemical tests (voltametry and polarography) | F014A | Voltammetry applies a constant and-or varying potential at an electrode's surface and measures the resulting current with a three electrode system. Polarometry is a subclass of voltammetry. Amperometry is also a subclass of voltammetry.
Electrochemical tests based on potentiometry (pH electrodes, ionsensitive electrodes, potentiometry) | F013A | Potentiometry passively measures the potential of a solution between two electrodes, affecting the solution very little in the process. The potential is then related to the concentration of one or more analytes.
Electron microscopical tests | F096A
Electron Spin Resonance (ESR) spectroscopy | F062A
Electrophoretical tests | F070A
Element spectroscopy | F051A | Element spectroscopy (AAS, AES, AFS, ICP-MS)
ELISA | F080A | Enzyme-linked immunosorbent assay
Enzymatic tests | F069A
ETAAS (GFAAS) | F054A | Electrothermal atomic absorption spectrometry (Graphite furnance atomic absorption spectrometry)
FAAS | F150A | Flame atomic absorption spectrometry
Fluorimetry, Nephelometry and Polarimetry | F011A
Gaschromatography (GC) | F037A | Gaschromatography (GC)
GC hypenated to element spectrometry | F161A | Gas chromatography hypenated to element spectrometry
GC hyphenated methods | F042A | GC coupled with special detectors, mostly multichanel detectors (e.g. GC-MS, GC-MS-MS, HG-(CT)GC-AAS, HG-(CT)GC-AFS, GC-ITD,GC-MS, GC-HRMS, etc.).
GC with standard detection methods | F038A | Standard detector equipment of GC, identification of the analyte is possible comparing the retention time with a standard, quantification can be done using the detector signal (e.g. GC-FID, GC-ECD, GC-NPD, GC-ELCD, GC-FPD, etc.).
GC-(P)FPD | F050A | Gas chromatography with (pulsed) flame photometric detection
GC-AAS | F163A | Gas Chromatography Atomic Absorption Spectrometry
GC-AES | F165A | Gas Chromatography Atomic Emission Spectrometry
GC-AFS | F164A | Gas Chromatography Atomic Fluorescence Spectrometry
GC-ECD | F039A | Gas chromatography with electron capture detection
GC-ELCD | F141A | Gas chromatography with electrolytic conductivity detection
GC-FID | F040A | Gas chromatography with flame ionization detection
GC-HR-TOF-MS | F147A | Gas chromatography with high resolution time-of-flight mass spectrometry
GC-HRMS | F047A | Gas chromatography with high resolution mass spectrometric detection
GC-HRMS (magnetic sector) | F146A | Gas chromatography hyphenated to a high resolution magnetic sector mass spectrometer
GC-ICP-MS | F166A | Gas Chromatography Inductively Coupled Plasma Mass Spectrometry
GC-ITMS | F045A | Gas chromatography with ion trap mass spectrometry
GC-LR-MS | F143A | Gas chromatography with low resolution mass spectrometry
GC-LR-TOFMS | F145A | Gas chromatography with low resolution time-of-flight mass spectrometry
GC-MS | F046A | Gas chromatography Mass Spectrometry
GC-MS (Q) | F144A | Gas chromatography with single quadrupole mass spectrometry
GC-MS-MS | F049A | Gas chromatography tandem mass spectrometry
GC-NPD (TID) | F041A | Gas chromatography with nitrogen-phosphorus sensitive detection (thermionic ionization detection)
GC-QqQ-MS-MS | F148A | Gas chromatography tandem quadrupole mass spectrometry
GC-QTOF-MS | F149A | Gas Chromography Quadrupole-Time-of-Flight Mass Spectrometry
GC-SCD | F140A | Gas chromatography with sulfur chemiluminiscence detection
GC-TCD | F142A | Gas chromatography with thermal conductivity detection
Gel electrophoresis | F076A | for DNA or RNA detection
Gelpermeation, High Performance Thin Layer Chromatography (HPTLC) | F017A
Gravimetric tests | F004A | Gravimetric analysis which trought the quantitavively measurement of the anayte mass. It determines the amount of material present by weighing the sample before and-or after some transformation e.g. precipitation, drying and ashing.
HG-(CT)GC-AAS | F043A | Hydride generation (Cold trapping or cryogenic trapping) Gas Chromatography Atomic Absorption Spectrometry
HG-(CT)GC-AFS | F044A | Hydride generation (Cold trapping or cryogenic trapping) Gas Chromatography Atomic Fluorescence Spectrometry
HG-(CT)GC-ICP-MS | F162A | Hydride generation (Cold trapping or cryogenic trapping) Gas Chromatography Inductively Coupled Plasma Mass Spectrometry
HG-AFS | F059A | Hydride generation atomic fluorescence spectrometry
HG-ICP-AES | F056A | hydride generation inductively coupled plasma atomic emission spectrometry
HGAAS | F053A | hydride generation atomic absorption spectrometry
High Performance Liquid Chromatography (HPLC)-Liquid Chromatography (LC) | F018A | High Performance, High Pressure and Liquid Chromatography.
Histometrical standard tests | F097A
HNA | F118A | Hemolysis Neutralisation assay
HPLC hypenated to element spectrometry | F156A | High performance liquid chromatography hypenated to element spectrometry
HPLC with standard detection methods | F019A
HPLC-CAD | F128A | High Performance Liquid Chromatography with Corona Discharge Detection
HPLC-CF | F036A | High Performance Liquid Chromatography coupled to continuous-flow
HPLC-Decomp-HG-ICP-MS | F160A | High performance liquid chromatography-decomposition-hydride generation inductively coupled plasma mass spectrometry
HPLC-Decomposition-HGAAS | F030A | High performance liquid chromatography-decomposition-hydride generation atomic absorption spectrometry
HPLC-Decomposition-HGAFS | F031A | High Performance Liquid Chromatography-Decomposition-Hydride Generation Atomic Fluorescence Spectrometry
HPLC-ECD | F023A | High Performance Liquid Chromatography with Electrochemical detection
HPLC-Electrical Conductivity Detector | F024A | High Performance Liquid with Electrical Conductivity Detector
HPLC-ELSD | F0127A | High Performance Liquid Chromatography with Evaporative Light Scattering Detection
HPLC-ESI-MS | F033A | High Performance Liquid Chromatography Electrospray (ionisation) Mass Spectrometry
HPLC-FD | F022A | High Performance Liquid Chromatography with Fluorescent Detection
HPLC-HG-AFS | F035A | High performance liquid chromatography hydride generation atomic fluorescence spectrometry
HPLC-HG-ETAAS | F157A | High performance liquid chromatography hydride generation electrothermal atomic absorption spectrometry
HPLC-HG-ICP-AES | F159A | High performance liquid chromatography hydride generation inductively coupled plasma atomic emission spectrometry
HPLC-HG-ICP-MS | F032A | High performance liquid chromatography hydride generation inductively coupled plasma mass spectrometry
HPLC-ICP-AES | F158A | High performance liquid chromatography inductively coupled plasma atomic emission spectrometry
HPLC-ICP-MS | F029A | High performance liquid chromatography inductively coupled plasma mass spectrometry
HPLC-LC hyphenated methods | F025A | HPLC-LC highphenated to element spectroscopy (HPLC-ICPMS, HPLC-Decomposition-HG-AAS, HPLC-Decomposition-HG-AFS, HPLC-HG-ICPMS, HPLC-ESMS, HPLC,HG-AFS, HPLC-HG-AAS, etc.).
HPLC-RI | F020A | High Performance Liquid Chromatography with Refractive Index Detection
HPLC-UV | F021A | High Performance Liquid Chromatography with UV Detection
HRGC-HRMS | F048A | High Resolution Gas chromatography High Resolution Mass Spectrometry
HS | F174A | Static headspace extraction
HS-SPME | F178A | head space - solid phase micro extraction
IC hyphenated to element spectrometry | F167A | Ion chromatography hypenated to element spectrometry
IC-AAS | F169A | Ion chromatography Atomic Absorption Spectrometry
IC-HG-AFS | F170A | Ion Chromatography Hydride Generation Atomic Fluorescence Spectrometry
IC-ICP-MS | F168A | Ion Chromatography Inductively Coupled Plasma Mass Spectrometry
ICP-AES | F057A | Inductively coupled plasma atomic emission spectroscopy
ICP-HR-MS | F154A | Idcutively coupled plasma high resolution mass spectrometry
ICP-LR-MS | F153A | Idcutively coupled plasma low resolution mass spectrometry
ICP-MS | F064A | Inductively coupled plasma mass spectrometry
Immunochemical tests | F077A | Applies to e.g. immunoelectrophoresis
Indirect Immunofluorescent Antibody test (IFAT) | F121A | A form of fluorescent antibody technique using antigen-antibody complex labeled with flourescein-conjugated anti-immunoglobulin antibody
Intestinal Scrapping Technique | F181A | Hofer S, Gloor S, Muller U, Mathis A, Hegglin D, Deplazes P, 2000
IR and Raman Spectroscopy | F010A
Lateral flow tests | F084A
LC-HR-MS | F129A | Liquid Chromatography with High Resolution Mass Spectrometry
LC-ITMS | F131A | Liquid Chromatography with Ion Trap Mass Spectrometry
LC-LR-MS | F130A | Liquid Chromatography with Low Resolution Mass Spectrometry
LC-MS | F026A | Liquid Chromography Mass Spectrometry
LC-MS (quadrupole) | F028A | Liquid Chromatography Single Quadrupole Mass Spectrometry
LC-MS-MS | F027A | Liquid Chromography Tandem Mass Spectrometry
LC-MS-MS (QqQ) | F034A | Liquid Chromography Tandem Quadrupole Mass Spectrometry
LC-orbitrap-MS | F133A | Liquid Chromatography with orbitrap detection
LC-Q-Trap-MS | F136A | Liquid Chromatography with Quadrupole-Linear-Ion-Tap Mass Spectrometry
LC-QTOF-MS | F137A | Liquid Chromography Quadrupole-Time-of-Flight Mass Spectrometry
LC-TOF-MS | F134A | Liquid Chromatography with Time-of-Flight Mass Spectrometry
liquid injection | F173A
Luminescense based tests | F094A | Tests based on luminescense measurements
MALDI-TOFMS | F065A | Matrix-assisted laser desorption ionization time-of-flight mass spectrometry
Mass Spectroscopy and hyphenated methods without chromatography | F063A
MBA | F108A | Mouse bioassay
MIA | F081A | Magnetic Immunoassay Tests
Microbiological special tests | F101A | Applies to e.g. Keimdiff, Salm test, etc.
Microbiological standard tests | F100A | Applies to e.g. MPN
Microbiological tests | F099A
Microscopical and histometrical tests | F095A
Microscopy-PCR RNAsn U1 | F185A | Mathis A, Deplazes P, Eckert J, 1996.
Modified Sedimentation and Counting Technique | F180A | Umhang G, Woronoff-Rhen N, Combes B, Boué F, 2011.
Molecular biological tests | F085A
Morphological identification | F120A | Morphological identification for insect samples
Nephelometry | F083A
Northern blot | F074A | for RNA detection
Nuclear Magnetic Resonance (NMR) | F061A
Nuclear Magnetic Resonance (NMR) and Electron Spin Resonance (ESR) spectroscopy | F060A
Organoleptic (sensoric) tests of food | F002A | Applies to e.g. smelling, tasting, etc.… - not usual for "chemical occurances" as contaminants or pesticde residues.
Other | Other
PCR | F086A | polymerase chain reaction
PCR RNAsn U1 | F184A
PCR Cest1-Cest2 NAD1 | F187A | Trachsel D, Deplazes P, Mathis A, 2007.
PCR H15-H17 12S rRNA | F186A | Van Der Giessen JW, Rombout YB, Franchimont JH, Limper LP, Homan WL, 1999.
PCR-ELISA | F088A | polymerase chain reaction coupled to ELISA detection
Physical tests | F006A | Quantifying an analyte by measuring physical properties i.e. refractometry, densitometry, etc. (does not apply to colorimetry, photometry and spectroscopy).
PP2A | F114A | Protein phosphatase inhibition test
QPCR | F087A | real time polymerase chain reaction used for DNA quantification
Qualitative tests | F007A | Tests based on a chemical or enzimatic reaction with reagents and trough the observation of the results of the reaction like precipitation or change of colour, etc. Only approximative quantification is possible.
Radioactivity based tests | F093A | Tests based on radioactivity and spectroscopy
Radiochemical tests | F091A
RBA | F110A | Rat bioassay
Receptor based tests | F116A
RIA | F078A | Radio Immunoassay Tests
Sample introduction | F172A
SBS | F179A | Stir bar sorpitive extraction
Sedimentation and Counting Technique | F188A | Eckert J, Deplazes P, Craig PS, Gemmel MA, Gottstein B, Heath D, Jenkins DJ, Kamiya M, Lightowlers M, 2001a.
Shaking in a Vessel Technique | F182A | Duscher G, Prosl H, Joachim A, 2005.
Southwestern blotting | F075A | for detection of DNA-binding proteins
Special tests | F098A
SPME | F177A | solid phase micro extraction
SPR-biosensor | F119A | Surface plasmon resonance
SSMS | F068A | Spark source mass spectrometry
Standard Chromatographic tests (paper-, thin layer- and column chromatography) | F016A | Applies to e.g. TLC
TD | F176A | Thermo desorption
TIMS | F067A | Thermal ionization-mass spectrometry
Traditional analytical techniques (wet chemical tests) | F003A | Applies to e.g. reacting with reagents and measuring the results of the reaction like precipitation or change of colour, etc (does not apply to colorimetry, photometry and spectroscopy).
Turbidimetry | F122A | A method for determining the concentration of a substance in a solution by measuring the loss in intensity of a light beam through a solution that contains suspended particulate matter.
UV-VIS spectroscopy (photometry) | F009A
Volumetric tests | F005A | A reagent (called titrator) of a known concentration (a standard solution) and volume is used to react with a solution of the analyte (called titrand), whose concentration is not known e.g. acidimetry, chelatometry, etc.
Western blot | F072A | for protein detection